DRAFT
Stormwater Inlet Protection Device Pilot Study

[image: image1.jpg]Inlet Study
Watersheds

Alachua Sink'
5

Alachua
Lake





[image: image13.jpg]



[image: image14.jpg]



Prepared for:
Gainesville Clean Water Partnership – City of Gainesville, Florida Department of Transportation and Alachua County

Prepared by:
Alachua County Environmental Protection Department (ACEPD)

 November 2007
TABLE OF CONTENTS

Section









Page
Introduction and Purpose







3


Geographic Setting and Study Sites





3
Materials and Methods







10
Results
and Discussion







12

Volatile Solids and Physical Properties




13

Nutrients








17

Metals and Petroleum Hydrocarbons





18
Conclusions and Recommendations






20
References

Appendices
List of Figures

Figure










Page

Figure 1. Locations of Study Sites within the Hogtown Creek and Sweetwater Branch Watersheds







4
Figure 2. Stormwater Inlet Study Sites, Gainesville, Florida 2006


5
Figure 3. Location Map for the City of Gainesville Public Works Compound Site
7
Figure 4. Location Map for the Florida Pest Control & Chemical Company Site  
9
Figure 5.  Sieve Analysis Results for Inlet Filters, Shown as Percent Retained by

Mass









15
List of Tables
Table










Page

Table 1. Stormwater Inlet Study Sites, Gainesville, Florida 2006


8
Table 2. Laboratory Analyses Methods





11
Table 3. Monthly Rainfall Data Based on an Average of GRU and


  
SJRWMD Rain Gages






12
Table 4. Sediment, Leaf Litter, and Debris Mass Retained Within the Inlet Filters
12
Table 5. Description of Sediments by Sieve Size




14
Table 6. Summary of Sediments Retained on the Inlet Filters by Sieve Size
16   

Table 7. Nutrients Found in the Sediment Collected from the Inlet Filters

17
Table 8. Results from Metals and Total Recoverable Petroleum Hydrocarbon


(TRPH) Analyses







19
List of Appendices
Appendices











Appendix A.  Photographs
Appendix B-1. 2006 Rainfall Data (inches) Collected at Gainesville Regional Utilities John R. Kelly Generating Station (GRU JRK) 

Appendix B-2. 2006 Rainfall Data (inches) Collected at Alachua County Fairgrounds by St. Johns River Water Management District (SJRWMD)
Appendix C. Calculations from Sieve Analysis

Appendix D. Laboratory Results 
Introduction and Purpose 
Stormwater pollution, especially in developed urban areas, is a leading cause of water quality degradation in surface waters.  The resulting pollution impacts natural systems in many negative ways (Miller 1993; Tilley and Brown 1998).  Automobiles and roadways are a major source of cadmium, copper, lead and zinc in stormwater. Fertilizers used in the landscape add nutrients (mainly nitrogen and phosphorus) to stormwater. Much of the urban areas in Alachua County were constructed when flood control and removal of rainwater were the primary objectives of design engineers. Stormwater conveyance systems were constructed to rapidly move rainwater into the natural drainage systems without any regard for retention or treatment. The consequences of these practices have degraded natural systems and created impaired waters that require expensive monitoring and restoration plans. 
New technologies, driven by increased regulation, have emerged to better control pollution entering surface waters (Pitt and Lalor, 2000). Stormwater inlet protection devices that capture sediments and hydrocarbons are commercially available and may be an economical alternative to expensive retrofits, or costly downstream engineering projects.  Capturing non-point source pollution as close to its source is the best alternative, after pollution prevention has failed or best management practices (BMPs) prove inadequate or are not effective. 
[image: image15.jpg]L



 A pilot study was conducted by the Alachua County Environmental Protection Department (ACEPD) in Gainesville, Florida to evaluate the use of stormwater inlet protection devices.  The purpose of the study was to measure the effectiveness of drop inlet filters for preventing sediment and pollutants in stormwater runoff from entering natural stream systems.  Two sites in Gainesville were chosen for a small scale pilot project, the City of Gainesville Public Works compound/maintenance yard in the Hogtown Creek Watershed and Florida Pest Control & Chemical Company in the Sweetwater Branch Watershed (Figure 1). 
Sediments collected in the inlet filters were analyzed for nutrient content, selected metals, percent solids, percent volatile solids, total recoverable petroleum hydrocarbons and sediment particle size. This allowed for a small scale quantifiable determination of the potential pollutant loading to the environment. This study provides data that can be used to further evaluate the effectiveness, efficiency and costs of preventing the release of sediments to the stormwater system and receiving waters by the use of drop inlet filter devices. 

Geographic Setting and Study Sites


Two study sites were chosen in northwest Gainesville (Figure 2). In this area, the Hawthorn Group sediments overlie the Floridan aquifer and surface drainage to streams and lakes dominates. The feature controlling hydrology is the Cody Escarpment, an area of high relief west of the study sites.  Relief in the county generally decreases westward, as the surface water flows west over the Cody Escarpment and onto the karst limestone

[image: image23.jpg]



Figure 1.  Locations of Study Sites within the Hogtown Creek and Sweetwater Branch Watersheds

[image: image2.jpg]Study Site
Location Map

YT ®

Feet
0 1,000 2,000

{727 cty of Gainesville Puslic Works

lorida Pest Control & Cherrical Company

I Karapahasand, 0105 percent sopes
[ [ Millopper-Urban land corrplex, 010 § percert slopes

NE 31ST AVENUE

[ Unban fanchMilhopper corrple, 0t 2 percert slopes
[T Wauchula-Urtan land cormplec

]
i

3RD AVE

r‘ ( — T TH AVE, AC 172 I

-

5 AHER T 340 B G oo e o 130 3 pIb S . oL G 1 1 1 oEes o The ABoaa oty o pomert
B, T s b . O34 PR i . T QS e 901 3¢ 0130





Figure 2.  Stormwater Inlet Study Sites, Gainesville, Florida 2006

plain in the west. It is along this escarpment that many of the streams originating in the central and eastern portions of the county recharge the Floridan or intermediate aquifers through sinkholes or swallets. One of the study sites is located in the Hogtown Creek Watershed; the other is located in the Sweetwater Branch Watershed (Figure 1). The streams in both of these watersheds terminate in swallets or sinks, recharging the Floridan aquifer.
[image: image16.jpg]



The Hogtown Creek Watershed, approximately 20 square miles, is a closed basin discharging to the Floridan aquifer system via Haile Sink on Hogtown Prairie west of the Cody Scarp.  There are many tributaries to Hogtown Creek, including Springstead Creek.  Hogtown Creek and its associated tributaries drain most of northwestern Gainesville. The direction of flow is generally south and west, although Possum Creek flows south and east to its confluence with Hogtown Creek.  Hogtown Creek flows through a series of wetlands between SW 2nd Avenue and its terminus at Haile Sink (Figure 1).

[image: image17.jpg]


Sweetwater Branch flows through the Gainesville urban area to Paynes Prairie and encompasses approximately 3.3 square miles of central Gainesville upstream of the prairie. Sweetwater Branch has one main tributary, Rosewood Branch, and a number of small unnamed tributaries. On the prairie itself there are two major water bodies, Alachua Sink and Alachua Lake, which is a large wetland system on the prairie. The water on Paynes Prairie discharges to the Floridan aquifer system via the Primary Sink Feature adjacent to Alachua Sink (Figure 1). 
The City of Gainesville Public Works compound is located between NW 6th Street and Main Street on the south side of NW 39th Avenue. Florida Pest Control & Chemical Company is located between Main Street and NW 2nd Street on the north side of NW 16th Avenue (Figure 2).  At each of the sites, two drop inlets with surrounding contributing areas that were well defined were selected for the installation of inlet filter devices. 
The City of Gainesville Public Works compound has 17.36 acres of impervious surface (Figure 3). The two study inlets did not collect the flow of that entire surface area. Near the study inlets are eight other stormwater inlets, which effectively fragment the 17.36 acres. The estimate of the area of contribution for each study inlet is based on 1-foot elevation relative to National Geodetic Vertical Datum 1929 (NGVD) contour intervals from the Alachua County Property Appraiser’s LIDAR topography data (Alachua County, 2001).  The two inlets selected for the study were designated PW

[image: image3.jpg]Inlet Study
City of Gaines
Public Works





Figure 3.  Location Map for the City of Gainesville Public Works Compound Site
Vehicle and PW Yard (Table 1). The PW Vehicle stormwater inlet has an estimated drainage area of 1.71 acres, whereas the drainage area for PW Yard inlet is only 0.43 acres. PW Vehicle is at an elevation of 156 feet NGVD while PW Yard is at 155 feet NGVD. From the inlets, stormwater flows into a series of two stormwater ponds, allowing suspended particulate matter and other potential contaminants to settle out before they discharge to Springstead Creek (Renshaw, 2007). Springstead Creek, a tributary to Hogtown Creek, runs through the Public Works site, having the lowest elevation at 148 feet NGVD.  There is a substantial vegetated buffer separating the impervious surface from the creek. This buffer likely abates the discharge of sediments from direct runoff of impervious areas of the site to Springstead Creek.

Table 1.  Stormwater Inlet Study Sites, Gainesville, Florida 2006

	Location
	Sample Site
	Contributing Area (acres)
	Receiving Waterbody 
	Inlet Type 
	 Elevation (NGVD)

	City of Gainesville Public Works 
	PW Vehicle
	1.71
	Springstead Creek*
	Drop
	156

	City of Gainesville Public Works 
	PW Yard
	0.42
	Springstead Creek*
	Drop
	155

	Florida Pest Control & Chemical Company
	FP North
	2.31
	Sweetwater Branch
	Drop
	183

	Florida Pest Control & Chemical Company 
	FP South
	2.03
	Sweetwater Branch
	Drop
	184


*Northern most major tributary to Hogtown Creek
[image: image18.jpg]



The Florida Pest Control & Chemical Company site has a digitized estimate of 4.33 acres of impervious surface based on the Alachua County (2006) aerial imagery, digital six-inch pixel color aerial orthophotography (Figure 4). The site was visually inspected and the two study inlets were found to intercept the majority of the runoff from the impervious area on the property.  The two inlets selected for the study were designated FP North and FP South (Table 1). There is a stormwater inlet for the road near the south entrance on NW 16th Avenue and one at the corner of NW 16th Avenue and NW 2nd Street; neither of these inlets appeared to be receiving water from the site (Figure 4). The overlaying of 1-foot elevation contours displayed little variation in the property. There was a slight 1-foot elevation drop near FP South, from 184 to 183 feet NGVD; otherwise the elevation was uniform throughout the site at 184 feet NGVD. Division of the drainage area was created based on the subtle elevation change. This resulted in FP North having a 2.31 acre drainage area, and FP South collecting from a 2.03 acre area. Florida Pest Control & Chemical Company is in the upper reaches of the Sweetwater Branch Watershed, with a channelized section of the creek located along NW 2nd Street, just west of the site.  
[image: image4.jpg]Al T, | <\ 2 Inlet Study
v I @ Florida Pest Control
| Gt | & I & Chemical Company

G

3 A





Figure 4. Location Map for the Florida Pest Control & Chemical Company Site

The soils are similar in nature at both study sites.  City of Gainesville Public Works compound soils are largely comprised of Wauchula-Urban land complex (map unit symbol 18) and a small portion of Kanapaha Sand, 0 to 5 percent slopes (map unit symbol 7) and an even smaller part is Millhopper-Urban land complex, 0-5 percent slopes. Florida Pest Control & Chemical Company soils are roughly half Wauchula-Urban land complex, and Urban land-Millhopper complex, 0 to 2 percent slopes (map unit symbol 45)(Figure 1).

Materials and Methods
[image: image19.jpg]


ACEPD purchased Ultra-DrainGuard Oil and Sediment filters manufactured by UltraTech International, Inc. for the study. The filters are simple in structure; consisting of a conical shaped bag comprised of needle-punched polypropylene geotextile material. These filters are designed to fit underneath and attach to the storm drain grating covering the drop inlet to capture parking lot runoff and retain sediments.  The Ultra-DrainGuard Oil and Sediment Model (part #9217) inlet protection device is reported to remove hydrocarbons as well as dirt, sand, and other contaminants. Contaminant removal is primarily by sorption onto the filter materials or by sediments captured in the device. The manufacturers specification show that each filter weighs approximately one pound and has dimensions of 48”L x36”W x18”H ; fitting a standard size drop inlet.  The filters had a unit cost of $51.50 and were rated to hold 40 pounds of sediment. 

[image: image20.jpg]


After site reconnaissance, the filters were deployed in the four stormwater drop inlets (described above) on March 7, 2006. The inlet filters were installed by first removing the inlet grates.  Tension bars for chain link fences were measured and cut to length to fit inside the recessed ledge below the grate where the filters were suspended.  The excess filter fabric was stretched outside the inlet opening and laid flat.  The inlet grates were then replaced on top of the filter material.  Excess filter material was trimmed flush with the top of the inlet grate so as not to interfere with water and sediment movement. Photographs showing the location of inlets and the installation and removal of the filters are located in Appendix A.
The filters were deployed for six months without sediment removal or maintenance activities. On September 6, 2006 the filters were collected from the City of Gainesville Public Works compound and Florida Pest Control & Chemical Company and allowed to air dry. The leaf litter and debris (both organic material and garbage) were removed and weighed. The sediment was then removed from the filters and weighed on an Acculab Econ Series portable scale.  The sediment from each filter was homogenized by manually mixing the sediment and then a representative sample was taken from each for pollutant analysis. The sediment particle size analysis was performed in-house by sieve analysis. 

Laboratory analyses of the sediments obtained from each of the inlet filters were conducted for nutrients, selected metals, percent solids, volatile solids, and total recoverable petroleum hydrocarbons (Table 2).  All of the analyses except organic content were conducted by Severn Trent Laboratories, Inc. (STL, now TestAmerica) Tallahassee, Florida and Canton, Ohio.  Organic content was assumed to equal results from volatile solids analyses completed by Advanced Environmental Laboratories, Inc. (AEL) Gainesville, Florida.  Four metals (cadmium, copper, lead, and zinc) were selected as being representative of metals that are typically found in high concentrations in stormwater runoff and reportedly have high toxicity in the aquatic environment (CRWQCB, 2007). The presence of petroleum hydrocarbon in the sediments was assessed by determining the concentration of total recoverable petroleum hydrocarbons (TRPH) in the alkane range of C8-C40 using the Floridan Residual Petroleum Organic (FL-PRO) method.  This analysis is designed to provide a gross concentration of petroleum products in the diesel and motor oil molecular weight range, referred to as polycyclic aromatic hydrocarbons (PAHs); without speciation of individual organic constituents.  
Table 2.  Laboratory Analyses Methods
	Constituent
	Method*

	Total phosphorus (TP)
	MCAWW 353.2

	Nitrate plus nitrite as nitrogen (NO3+NO2)
	MCAWW 353.2

	Total Kjeldahl nitrogen (TKN)
	MCAWW 351.3

	Total nitrogen (TN)
	Calculation:  NO3 /NO2 + TKN

	Copper, lead, zinc, cadmium
	EPA Method 3050/6010

	Percent solids
	MCAWW 160.3 modified by STL

	Total recoverable petroleum hydrocarbons (TRPH) in the alkane range of C8-C40
	FL-PRO

	Volatile solids (residue)/ash free dry weight (VS/AFDW)
	MCAWW 160.4


*EPA (1983) Methods for the Chemical Analysis of Water and Wastewater (MCAWW)
After the representative sample for laboratory analysis was removed, the remaining sediment collected from the filter was sieved by ACEPD. The procedure involved stacking graduated soil sieves atop one another in descending order #10 to #120 mesh sizes and shaking (Das, 1986). When sieving, the soil particles left in each sieve relates to a specified diameter which determines the soil texture: sand (0.05 to 2.0 mm), silt (0.002 to 0.05 mm) and clay (less than 0.002 mm). The sieve sizes used in this study were: #10, #18, #30, #45, #80, and #120 and were all for the sand texture class. After sieving each fraction was weighed on the Acculab Econ Series portable scale.
Results and Discussion
Most of the rainfall in the Gainesville area occurs in summer from convective storms or during winter cold fronts. During the 180 day (March 6th through September 6th 2006) study period, there were 66 days of rain for a total of 20.45 inches (Table 3). August, in terms of volume, had the most rainfall of the six months at 6.04 inches. However, June held the most days with rain, 17, with a rainfall total of 5.18 inches. The rainfall amounts were determined by averaging the Gainesville Regional Utilities (GRU) John R. Kelly Generating Station gage readings with the St. Johns River Water Management District (SJRWMD) gage readings from the Alachua County Fairgrounds.  Daily rainfall values from both locations are included in Appendix B.
Table 3. Monthly Rainfall Data Based on an Average of GRU and SJRWMD Rain Gages
	Rainfall 2006
	March* 
	April 
	May 
	June 
	July 
	August 
	September* 
	  Totals 

	 Monthly Totals (in.)
	0.26
	3.00
	0.57
	5.18
	4.92
	6.04
	0.51
	20.45

	Number of Rainfall Days
	4
	6
	5
	17
	16
	14
	2
	66


*March 6th 2006 through September 6th 2006

Capturing sediments before they enter a stormwater system reduces pollutant loading and the impacts of in-stream erosion, exacerbated by high sediment loads in stormwater, in natural stream systems. The filters collected a total of 4,236.1 grams or 9.34 pounds (lbs) of sediment, leaf litter, and debris in the stormwater runoff from a total combined catchment area of 6.48 acres. The amount of sediment and debris collected in the individual filters is shown in Table 4. The filter with the most sediment collected was that of the City of Gainesville Public Works, PW Yard, with 839.3 grams (1.85 lbs) retained in the filter. Both Public Works inlet filters collected the most sediment by mass for a total of 1,418.4 grams (3.18 lbs).  The PW Yard inlet filter retained roughly double the amount of sediment collected in any of the remaining three filters. This was due to its proximity to the area where fill dirt and other earthworks materials are stored and truck traffic.  This is reinforced by the photograph of the stormwater inlet in Appendix A, which clearly shows accumulated sediment around the inlet. In a similar study involving 165 inlet filters, in 3 different cities in the Puget Sound Area of Washington, it was found that the majority of the filters retained four to 20 lbs of sediment for a similar time frame as this study (Hrachovec, 2001). The most leaf litter and debris, 750 grams, was collected at Florida Pest Control & Chemical Company in the FP South filter.

Table 4. Sediment, Leaf Litter, and Debris Mass Retained Within the Inlet Filters
	Sample Site
	Sediment Mass
	Leaf Litter and Debris Mass
	Total Mass
	Volatile Solids in Sediment* (% by weight)

	
	grams
	pounds
	grams
	pounds
	grams
	pounds
	

	PW Vehicle
	579.1
	1.28
	510.2
	1.12
	1089
	2.40
	3.7

	PW Yard
	839.3
	1.85
	438.9
	0.97
	1278
	2.82
	4.1

	FP North
	350.8
	0.77
	354.9
	0.78
	706
	1.56
	15.6

	FP South
	412.9
	0.91
	750
	1.65
	1163
	2.56
	22.7



* Percent volatile solids were used as an estimate of sediment organic content.
Volatile Solids and Physical Properties
The sediments retained in the inlet filters were of varying size and composition.  The materials in all size fractions consisted of both organic material and inorganic material, primarily quartz sand.  Volatile solids (residue) analyses were used to estimate the organic content of the sediments. Although this analysis does not “precisely” distinguish between organic and inorganic matter, because there are other constituents that will volatilize at 550oC (APHA, 1985); volatile solids can provide a reasonable estimate of sediment organic content.  The overall color of the sediment removed from the filters was dark brownish-grey, with clear to yellow quartz sand grains and small limestone fragments.  Some of the quartz sand grains were coated in what appeared to be a dark organic material and a few of the quartz sand grains had visible iron oxide coatings.  The larger sieve fractions contained recognizable leaf litter, insects and other organics. The overall sediment volatile solids or organic content ranged from 3.7 to 22.7%, with the highest mineral content and lowest volatile solids or organic content, 3.7% found in the sample from the PW Vehicle inlet filter at the City of Gainesville Public Works compound (Table 4). 
Captured sediment is not necessarily indicative of the local soils; sediment can be transferred from other locations to the sites by vehicles. For example, City of Gainesville Public Works moves fill dirt on site, which comes from off-site locations.  All four sediment samples showed much higher organic content (based on volatile solids analyses) than the native soils, substantiating that much of the material collected in all four inlet filters is from external sources, such as offsite tracking. Wauchula-Urban land complex organic content is 1.78% in the first soil horizon of 0-13 cm according to the Soil Survey of Alachua County, and the organic content for Millhopper-Urban land complex, 0-5 percent slopes, is 0.73%. Urban land-Millhopper complex, 0 to 2 percent slopes, has an organic content of 0.73%. For comparison purposes Shencks Muck has an organic content of 42.96% (USDA, 1985).

 Sediment samples collected from both inlet filters at City of Gainesville Public Works appeared to have the same color and similar contents in each of the fractions retained by the different sieve sizes (Table 5). The fraction of the samples passing through the #120 sieve contained less quartz than some of the coarser samples and appeared darker in color, indicating it was likely organic in nature.  The two samples collected at the Florida Pest Control & Chemical Company site also appeared similar to each other; however they were different from the two samples collected at the Public Works site (Table 5).The samples from the inlet filters at Florida Pest Control & Chemical Company were generally darker in nature and likely were primarily organic material, with the coarser fractions having broken leaves and twigs.

[image: image21.jpg]



Table 5.  Description of Sediments by Sieve Size 
	Sieve Number and Size
	City of Gainesville Public Works
	Florida Pest Control & Chemical Company

	
	Color
	Contents
	Color
	Contents

	#10

(2 mm)
	N/A
	A few coarse sand grains and small fragments of leaves and limestone
	N/A
	Leafs and leaf fragments

	#18
(1 mm)
	Light grey to brown
	Large quantity of limestone fragments and clear quartz mixed with other sand size particles; but few leaf fragments
	Dark grey to brown
	Limestone and leaf fragments mixed with sand size particles

	#30
(0.6 mm)
	Light grey to brown
	Large quantity of limestone fragments and clear quartz mixed with other sand size particles and leaf fragments
	Dark grey to brown
	Limestone and leaf fragments mixed with sand size particles

	#45
(0.36 mm)
	Light grey
	More quartz grains and fewer leaf fragments than #30
	Grey
	Mixture of quartz sand particles covered in organic matter and other sand size grains; small quantity of limestone and leaf fragments

	#80
(0.18 mm)
	Very light grey and white mixture
	Mostly fine quartz particles mixed with other fine sand size materials
	Grey
	Mixture of quartz sand particles covered in organic matter and other sand size grains; small quantity of limestone and leaf fragments

	#120
(0.125 mm)
	Very light grey and white mixture
	Mostly fine quartz particles mixed with other fine sand size materials
	Dark Grey
	Mixture of quartz sand particles covered in organic matter and other sand size grains; small quantity of limestone and leaf fragments

	<#120
	Light grey
	Less quartz; likely organic in nature
	Dark grey
	Less quartz, likely organic in nature


The ability of a soil or sediment to retain or sorb nutrients, metals or organics is a function of many characteristics including material type and particle size.  The material being sorbed to the particles may also go through transformations and in some cases becomes bound to the particulates. A sandy soil generally retains less organic matter (OM) and nitrogen (N) than textures of a finer nature (Brady, 1996). Sandy soils have more void spaces and retain less moisture, which allows for more microbial activity and rapid oxidation of organic matter. Therefore sandier soils are less likely to retain organic matter and nutrients (Manahan, 1983). Finer particles, such as clay, have more surface area thereby more reactivity and adhesion/cohesion capabilities (Brady, 1996). Soil particle composition also affects adsorptive capacities.  Clean quartz sand retains few organics, nutrients or metals. However, quartz sand with coatings of hydrated oxides of iron and manganese coatings on the sand gains will have increased adsorptive capacities (Manahan, 1984). Organic particles also have potentially high sorptive capacities. Particulates affect mobility of organic compounds as well as nutrients and metals; the sorption of organic compounds varies with their water solubility (Manahan, 1984).  
Most of the sand size material recovered from the filters at all four inlets was organic in nature and likely preferentially sorbed both nutrient and organic constituents. Each sieve number correlates to a specific soil particle diameter size being retained. Mechanical sieving only separates soil to the very fine sand fraction. The silt and clay fraction is determined by a settling rate of the soil being in suspension to the time it takes the particles to settle. This determines the silt and clay fractions, which when in suspension create turbidity in bodies of water and have the potential to clog the gills of aquatic organisms.  Turbidity can also decrease the depth light penetrates which reduces photosynthesis in submerged aquatic vegetation. The silt and clay fractions were not differentiated in this study, but were retained in the inlet filters and comprised 9.5 to 19.8 percent of the materials sieved (Figure 5 and Table 6)  

[image: image5.emf]0.0

5.0

10.0

15.0

20.0

25.0

30.0

35.0

40.0

45.0

#10 #18 #30 #45 #80 #120 < #120

Sieve Number

Percent Retained 

by Sieve Size

PW Vehicle PW Yard FP North FP South


Figure 5.  Sieve Analysis Results for Inlet Filters, Shown as Percent Retained by Mass
Table 6. Summary of Sediments Retained on the Inlet Filters by Sieve Size
	Site
	Sieve Number (Diameter)
	USDA Soil Particle Classification
	Soil Retained (g)
	Percent Retained
	Percent Passing

	PW Vehicle
	#10 (2mm)
	very coarse sand/gravel
	0.4
	0.2
	99.8

	
	#18 (1 mm)
	coarse/very coarse sand
	16.6
	10.3
	89.5

	
	#30 (0.595 mm)
	coarse sand
	11.9
	7.4
	82.1

	
	#45 (0.355 mm)
	medium sand
	27.5
	17.1
	65.0

	
	#80 (0.18mm)
	fine sand
	67.2
	41.7
	23.3

	
	#120 (0.125 mm)
	fine sand
	22.3
	13.8
	9.5

	
	< #120 (<0.125 mm)
	clay/silt/very fine/fine sand
	15.3
	9.5
	0.0

	
	
	Total Mass =
	161.2
	100
	

	PW Yard
	#10 (2mm)
	very coarse sand/gravel
	0.5
	0.2
	99.8

	
	#18 (1 mm)
	coarse/very coarse sand
	18.3
	9.0
	90.8

	
	#30 (0.595 mm)
	coarse sand
	18.7
	9.2
	81.6

	
	#45 (0.355 mm)
	medium sand
	37
	18.1
	63.5

	
	#80 (0.18mm)
	fine sand
	70.7
	34.7
	28.8

	
	#120 (0.125 mm)
	fine sand
	27.2
	13.3
	15.4

	
	< #120 (<0.125 mm)
	clay/silt/very fine/fine sand
	31.5
	15.4
	0.0

	
	
	Total Mass =
	203.9
	100
	

	FP North
	#10 (2mm)
	very coarse sand/gravel
	0.1
	0.1
	99.9

	
	#18 (1 mm)
	coarse/very coarse sand
	16.4
	12.4
	87.6

	
	#30 (0.595 mm)
	coarse sand
	17.1
	12.9
	74.7

	
	#45 (0.355 mm)
	medium sand
	25.2
	19.0
	55.7

	
	#80 (0.18mm)
	fine sand
	34.2
	25.8
	29.9

	
	#120 (0.125 mm)
	fine sand
	13.4
	10.1
	19.8

	
	< #120 (<0.125 mm)
	clay/silt/very fine/fine sand
	26.3
	19.8
	0.0

	
	
	Total Mass =
	132.7
	100
	

	FP South
	#10 (2mm)
	very coarse sand/gravel
	4.3
	2.8
	97.2

	
	#18 (1 mm)
	coarse/very coarse sand
	21.1
	13.9
	83.2

	
	#30 (0.595 mm)
	coarse sand
	23.8
	15.7
	67.5

	
	#45 (0.355 mm)
	medium sand
	29.9
	19.7
	47.8

	
	#80 (0.18mm)
	fine sand
	40.6
	26.8
	21.0

	
	#120 (0.125 mm)
	fine sand
	13.6
	9.0
	12.0

	
	< #120 (<0.125 mm)
	clay/silt/very fine/fine sand
	18.2
	12.0
	0.0

	
	
	Total Mass =
	151.5
	100
	


Parking lot stormwater runoff has been shown to contain elevated concentrations of total suspended solids (TSS), trace metals and PAHs as well as significant toxicity characteristics in bioassay experiments. Many of these contaminants are adsorbed onto sediment particles (Tiefenthaler, 2001). Figure 5 and Table 6 indicate that the most prevalent particle size was the 0.180 mm soil particles in the #80 sieve category, corresponding to fine sand textural class.  This was true for all four inlets, as was the least prevalent size retained by the #10 sieve, the very coarse sand to gravel textural category. The second most prevalent category, with the exception of FP North sediment, was sediments retained on the #45 sieve, medium grained sand (Figure 5 and Table 6).  Calculations for the sieve analysis are included in Appendix C. Further work would be needed to define the size fractions that exist below the #120 sieve. Finer soil fractions, such as clay, have a very large surface-to-volume ratio, giving them a large capacity to adsorb substances on their surfaces. Larger fractions have less surface area and therefore lower adsorption capacity.
Nutrients

The sediment samples were analyzed for nutrients, selected metals, percent solids, organic content, and petroleum hydrocarbons as described above and laboratory reports are provided in Appendix D. The results of nutrient analyses are presented in Table 7, along with the percent solids data. All nutrient laboratory analytical data are reported in milligrams per kilogram (mg/kg) or parts per million on a dry weight basis. The mass fraction of total phosphorus (TP) ranged from 483 mg/kg in sediment samples from the City of Gainesville Public Works yard area (PW Yard) to 743 mg/kg at the Florida Pest Control & Chemical Company inlet FP North. The Total Kjeldahl Nitrogen (TKN) in the sediment samples ranged from 560 mg/kg at PW Yard to 2,600 mg/kg at FP North. The Total Nitrogen (TN) reflected the same measurements due to the organic fraction of the TKN being orders of magnitude larger than the nitrate plus nitrite (NO3+NO2) inorganic fraction, ranging from 2.5 to 13 mg/kg (Table 7). 
Table 7. Nutrients Found in the Sediment Collected from the Inlet Filters
	Site
	Percent Solids
	TP (mg/kg)
	TKN (mg/kg)
	NO3+NO2 (mg/kg)
	TN* (mg/kg)

	PW Vehicle
	94.9
	518
	670
	10
	680

	PW Yard
	99.2
	483
	560
	2.5
	560

	FP North
	97.7
	743
	2,600
	13
	2,600

	FP South
	99.0
	742
	670
	2.9
	670

	HOG301
	NM
	118
	233
	NM
	NM

	SWBPP12
	NM
	8070
	1810
	NM
	NM


*Items less than 2 significant digits are not reported by the lab with respect to differences in TKN and TN
1. SJRWMD data used for comparison; NM = Not Measured; Site located on Hogtown Creek at SW 20th Avenue
2. SJRWMD data used for comparison; NM = Not Measured; Site located on Sweetwater Branch at Paynes Prairie, downstream of Gainesville Regional Utilities Main Street Water Reclamation Facility discharge
Of the TN, the largest portion is that of the organic fraction (TKN) with miniscule amounts of the inorganic constituents (NO3+NO2). This is logical in that nitrate and nitrite are more soluble in water and tend to readily leach from soils and sediments. Whereas the organic fraction of TN tends to bind more readily to soil and sediments and is thus more likely to be retained in a filter that collects sediment.  Nitrogen is a natural component of leaf litter also contributing to the TN; Greco (2004) reported that leaf litter from swamps and marshes in the southeastern United States contained over 1% nitrogen. This may account for the relatively high amounts of TKN (0.056 to 0.260%) over the six month study period and the low retention of the inorganic fraction, NO3+NO2 (0.00025 to 0.0013%). Leaf litter was removed from the sample prior to analyses; however it is likely that leaf litter is the parent material for the sediments that were analyzed. Organic material can be both a source and sink for nitrogen and phosphorus. This is frequently seen in wetlands systems which naturally have soils with high organic content from decaying plant material. Most nutrients in stream and lake sediments are reportedly present due to non-anthropogenic sources, based on a study of sediments completed in 1998 for the St. Johns River Water Management District (Durell et al., 1998).  Detrital material naturally contains carbon, nitrogen and phosphorus in its structure.  The concentration and speciation of nitrogen as the organic matter decomposes may change based on oxygen availability and microbial decomposition (Manahan, 1985).  
The higher TKN and TN (Table 7) observed at the Florida Pest Control & Chemical Company FP North inlet may in part be due to the higher organic content (Table 4) of the sediments retained in the inlet filter.  It is also possible the incidental spills or releases of fertilizers to the ground or parking area at Florida Pest Control & Chemical Company contributed to the higher nitrogen content of the material collected in the inlet filters.  This should be further evaluated, as ACEPD historical data that indicate relatively high levels of total ammonia (nitrogen), 0.460 mg/L under baseflow conditions in samples collected from Sweetwater Branch at NE 10th Avenue downstream of the site (ACEPD, 2007).  
Total phosphorus (TP) concentrations were similar in samples collected from all four filters (Table 7). Phosphorus is naturally occurring in most Florida soils and most of it is derived from the inorganic phosphate materials in the Hawthorn Group (Scott, 1988). Greco (2004) reported that phosphorus is a small component of leaf litter, making up less than 0.02% in leaf litter from swamps and marshes. The average total phosphorus content of samples from all four sites, 621 mg/kg, was found to be approximately five times higher than that reported (Table 7) for sediments from Hogtown Creek (Durell et al., 1998). For comparison, the phosphorus content of sediments from Sweetwater Branch (Table 7) were 13 times higher than samples obtained from the inlet filters, likely due to the discharge of reclaimed water (treated sewage effluent) from the GRU Main Street Water Reclamation Facility to Sweetwater Branch.  The sediments in Sweetwater Branch downstream of the discharge from the water reclamation facility contained over 3% organic carbon (Durell et al., 1998), which may have aided in the retention of phosphorus by the sediments. Sediment removal using the inlet filter devices may also function in removal of phosphorus from stormwater runoff before it enters surface waters.    
Metals and Petroleum Hydrocarbons

The metals and petroleum products that were detected in the sediment samples collected in the filters are presented in Table 8. The State of Florida Chapter 62-777.170 FAC Soil Cleanup Target Levels for direct exposure in residential and industrial environments and for leachability based on freshwater surface water criteria are also given in Table 8.  All four metals (copper, lead, zinc, and cadmium) were detected in samples from each of the four filters (Table 8).  Zinc was found in the highest concentrations and was present at concentrations at least one order of magnitude above the levels of copper, lead, and cadmium.  In the aquatic environment, especially for invertebrates, copper is considered to be the most toxic of the four analyzed metals (CRWQCB, 2007).  The copper concentration in samples from the inlet filters ranged from 8.3 mg/kg at PW Yard to 68 mg/kg at FP North (Table 8). The amount of lead ranged from 21 mg/kg at PW Yard to 47 mg/kg at FP North. Zinc, found in the highest concentrations in all samples, was 190 at PW Yard to 650 mg/kg at FP South (Table 8). Cadmium concentrations ranged from 0.21 mg/kg at PW Yard to 0.85 mg/kg at FP North. None of the metal concentrations exceeded Florida standards for direct exposure in residential and commercial/industrial environments (FDEP, 2005).

Table 8.  Results from Metals and Total Recoverable Petroleum Hydrocarbons (TRPH) Analyses
	Contaminant
	PW Vehicle
	PW Yard
	FP North
	FP South
	Direct Exposure1
	Leachability based on freshwater surface water criteria1
	Freshwater Threshold Effects Level2 (TEL)

	
	
	
	
	
	Residential
	Commercial/Industrial
	
	

	Units
	mg/kg
	mg/kg
	mg/kg
	mg/kg
	mg/kg
	mg/kg
	mg/kg
	mg/kg

	Copper
	33
	8.3
	68
	52
	150*
	89,000
	NA
	42

	Leadd
	32
	21
	47
	26
	400
	1,400
	NA
	45

	Zincc
	210
	190
	440
	650
	26,000
	630,000
	NA
	135

	Cadmiumc,h
	0.49
	0.21
	0.85
	0.66
	82
	1,700
	NA
	0.54

	TRPH 

(C8-C40)
	1900
	580
	770
	400
	460
	2,700
	340
	NA


1. Chapter 62-777.170 Derivation of Cleanup Target Levels, Soil Cleanup Target Levels; NA = Not available at time of rule adoption
* Direct exposure value based on acute toxicity considerations.
2. NA = Not Applicable

(c) = Phytotoxicity must be considered.
(d) = Residential direct exposure value from USEPA Revised Interm Soil Guidance for CERCLA Sites and RCRA Corrective Action Facilities. OSWER Directive 9355.4-12 (1994). The industrial direct exposure value was derived using methodologies outlined in USEPA ‘Recommendations of the Technical Review Workgroup for Lead for an Interim Approach to Assessing Risks Associated with Adult Exposures to Lead in Soil’, December 1996; and in ‘Blood Lead Concentrations of U.S. Adult Females: Summary Statistics from Phases 1 and 2 of the NHANES III’, March 2002.
(h) = Residential chronic SCTL for cadmium should be used as a not-to-exceed value because the residential chronic SCTL for cadmium is indistinguishable from the SCTL based on acute toxicity.
The Freshwater Threshold Effects Levels (TEL) represents the concentration below which harmful effects are expected to occur only rarely in freshwater soils (Smith et al., 1996).  The TELs are used here for discussion purposes to show the potential cumulative impacts of nutrients in the stream environment. Using Smith’s (1996) TEL, the levels of copper exceed the TEL in the sediment retained in the filters from both Florida Pest Control & Chemical Company inlets. Samples from the FP North inlet slightly exceeded the TEL for lead. Samples from all of the four study sites surpassed the TEL for zinc, with samples from FP South exceeding the TEL nearly five times. Both inlets at Florida Pest Control & Chemical Company exceeded the TEL for cadmium.  The high copper, zinc, and cadmium content of the sediments retained in the inlet filters at Florida Pest Control & Chemical Company may be a result of adsorption of metals on the organic particulates. 
The metals content of natural waters and wastewater is mostly in the form of particulates; as precipitates or adsorbed on particle surfaces, such as clays or organic detritus (Snoeyink and Jenkins, 1980).  Metal can be held to particulates in a number of ways: (1) by cation-exchange of specific ions or compounds, (2) bound to hydrated oxides of iron or manganese, or (3) chelated by insoluble humic (organic) substances (Manahan, 1984).  Dean et al. (2006) reported that it is not only the total content of these metals in stormwater runoff, but how they partition and speciate in water that affects concentrations. Cadmium and zinc are reportedly less likely to form complexes with organics and carbonates than lead and copper (Dean et al., 2006).  The pH of the runoff and entrapped sediments may also function to sequester or mobilize metals. The small limestone fragments observed in the samples from the inlet filter devices may slightly increase pH of the runoff and provide sites for precipitation of metal carbonate minerals.
Vehicle use and roadways are likely the major sources of copper, cadmium, lead and zinc in urban stormwater environments (Pitt and Lalor, 2000). These metals are reported to bioaccumulate in aquatic invertebrates, with copper reportedly the most damaging (CRWQCB, 2007). Major sources from industrial runoff include galvanized metal surfaces and ground areas where motor oil and hydraulic fluid could accumulate (Golding, 2006). TDC Environmental, LLC (2004) reported architectural copper, vehicle break pads, copper pesticides, vehicle fluid leaks and copper algaecides as important to investigate as sources of copper in stormwater runoff in California.  Copper, along with chromium and arsenic, is also a component of chromated copper arsenate (CCA) treated wood.  Although residential and commercial use of CCA treated wood has declined since the introduction of alkaline copper quaternary (ACQ) wood treatment in Florida, wood for telephone poles is still preserved in this manner. Additionally, the ACQ process uses more copper than the CCA process. Zinc was commonly reported in high concentrations in roof stormwater runoff (Pitt and Lalor, 2000).  They report the major sources of zinc as road dust contaminated with wear products and zinc plated (galvanized) metal erosion.  Cadmium in stormwater was reportedly observed at the highest concentrations in runoff from vehicle service areas and streets (Pitt and Lalor, 2000).  Potential sources of cadmium summarized by the NRDC (1999) also include landscaping activities (fertilizers), electroplating, fuel combustion and disposal of metal containing products.  Potential sources of lead reportedly include fuel, exhaust, motor oil and grease, undercoatings, brake linings, rubber and engine wear (Lehner et al., 1999). Lead is also used in automobile tire weights. Based on these and other studies, it is safe to conclude that much of the metal loads to the sediments analyzed from the inlet protection device study are derived from vehicular traffic and roadways (Pitt and Lalor, 2000).

 The total recoverable petroleum hydrocarbons or TRPH (C8-C40) in sediment samples from the inlet filters ranged from 400 mg/kg at FP South to 1,900 mg/kg at PW Vehicle (Table 8). This was expected, as these hydrocarbons are related to fuels such as diesel and oil.  Their higher molecular weight and hydrophobic properties contribute to their presence in the sediments, where they readily adsorb onto the particulates (Manahan, 1984; USDHHS, 1999).  TRPH exceeded the residential exposure level for three inlets and exceeded the freshwater surface water leachability criteria for all four inlets (Table 8). However the TRPH has been concentrating in the filter for six months. The greatest amount 1,900 mg/kg was at the City of Gainesville Public Works vehicle area which has a gas fueling station less than 40 yards from the inlet. 
Conclusions and Recommendations
The drop inlet filter devices were found to retain sediments in each of the stormwater inlets.  Fine sand was the most prevalent size class of sediments retained. Total nitrogen, 2,600 mg/kg, was greatest in samples from the FP North site.  The amount of sediment was greatest at the City of Gainesville Public Works compound, as was the TRPH.  The use of this study to locate specific problem areas was very useful.  More strict implementation of BMPs for these sites would likely result in a decrease of sediment and nutrient loads.  Neither site has a great deal of daily customer traffic, as compared to a shopping center. To further investigate the effectiveness of inlet protection capabilities using filtering devices may warrant a study in a high traffic shopping plaza.  
The two sites varied in size of their contributing areas as well as watershed characteristics. The City of Gainesville Public Works site has heavy machinery and trucks moving in and out of the site, as well as its own fueling station. Springstead Creek runs through the property and collects drainage from the site. This creek is a tributary of Hogtown Creek which flows to Haile Sink, through a series of wetlands that filter the pollutants. Sedimentation, from both internal and external sources, is a concern throughout the Hogtown Creek Watershed. 

The Florida Pest Control & Chemical Company site is a commercial business with a fleet of trucks. The two inlets at Florida Pest Control & Chemical Company, due to their proximity to the road, also collected runoff from NW 2nd Street. These stormwater inlets discharge into a channelized section of Sweetwater Branch.  Sweetwater Branch flows through Gainesville to Paynes Prairie where is discharges to Alachua Sink, which has an established Total Maximum Daily Load (TMDL) of 256,322 lbs/yr TN or 720 lbs/day. Florida Department of Environmental Protection (FDEP) established this TMDL based upon “Nutrient TMDL for Alachua Sink,” a report that found TN was the limiting nutrient (Gao et al., 2006). In other words, the flora and fauna of the system remain balanced until this nutrient threshold is surpassed.

In the City of Gainesville there are roughly 2,500 ditch bottom inlets according to the City of Gainesville Public Works (Renshaw, 2007). The cost of the filters alone for all inlets would be $128,750. The average retention of TN for one filter was 0.0011 lbs/180 days.  If this is extrapolated to 2,500 filters, it equals a load reduction of 5.6 lbs/year. The average TP collected was 0.0007 lbs/180 days, which could lead to a potential load reduction of 3.5 lbs/year. This amount is minimal at best for nutrients and does not justify the expenditures that would be necessary to implement a comprehensive inlet filter program. However, for the amount of TRPH retained it may be justifiable in areas where fuel contamination is likely since the concentrations were found to exceed the soil cleanup target levels for residential at three inlets and exceeded freshwater leachability at all four inlets.

Manufacturer’s guidelines for inlet protection devices suggest maintenance of the filters, in order to remove trash and debris that may reduce the filter’s effectiveness. This was not necessary, since the filters were installed for a six month period and did not even come close to the capacity of the filter. The amount of sediment, leaf litter, and debris collected at all four sites combined was 9.34 lbs. There may have been some inaccuracy in the study due to the leaf litter adsorbing/absorbing some of the pollutants, and the litter was not analyzed.
In a similar study involving 50 inlet filters, it was estimated to cost $12,330, including the filters, monitoring equipment and maintenance to implement a catch basin inlet filter program (Vancouver, 2005). Their study located the problem areas in a particular basin and allowed them to pinpoint and correct the problems. The study did not promote the long term use of the filters.
The longevity of the Ultra-DrainGuard Oil and Sediment filters is six months to a year (according to the manufacturer’s description) but it is dependant upon the location’s terrain and site characteristics. The filters have the capacity to contain 40 lbs of pollutants, sediment, and debris. The filters are typically replaced; however they may be re-used under certain circumstances. For example, filters may be emptied and re-used at construction sites where clean sand is prevalent; however the flow may be reduced due to remaining fine particles.  Using an inlet filter as a long term solution to non-point source pollution may create issues of disposal. The concentration of TRPH above the leachability criteria (Table 8) requires proper disposal.
Based on the inlet protection pilot study, ACEPD has the following recommendations:

1. Evaluate the BMPs in place at Florida Pest Control & Chemical Company to assure that nutrients are not being released to the stormwater system from the commercial operation.

2. To evaluate the BMPs in place at the City of Gainesville Public Works compound where inorganic sediments and TRPH were the highest, consider continued use of the inlet filters for a two year period of study.

3. Conduct an additional study at the City of Gainesville Public Works compound, and possibly other sites, using the Ultra DrainGuard Oil & Sediment Plus Model which utilizes X-TEX filter strips (a hydrophobic/hydrophilic material made from recycled synthetic fibers which are manufactured in order to increase surface area and interstitial spaces). These filters are specially designed to increase hydrocarbon removal from runoff. 
4. Conduct a larger scale project in a large retail area.

5. Conduct a storm event monitoring study to evaluate concentrations and loading of selected metals and TRPH to the urban creeks.
6. Use deployment of the inlet filter devices to investigate complaints and problem sites where sediments, nutrients or TRPH are a potential problem. 

7. Encourage “green businesses” to use and maintain inlet filters at their own expense to protect water quality.

Stormwater inlet filter devices have many benefits; they are commercially available, relatively low cost, generally require minimal periodic maintenance depending on the application, are effective under intermittent flow conditions, are easily installed below grade, require no inlet reconfiguration and function under gravity flow.  Their use to supplement, not replace, BMPs provides another tool in the tool box for improving water quality in the urban environment. Their use to evaluate areas of concern as part of BMP implementation can provide direct feedback on the success or failure of the BMPs implemented.  This would allow regulators and property managers to see tangible evidence in improving water quality.  

ACEPD would like to acknowledge the funding of this project by the Gainesville Clean Water Partnership (City of Gainesville Public Works Department, Florida Department of Transportation and Alachua County Public Works).  The field activities were conducted by Sergio Quintana with the assistance of Jim Myles.  Data analysis and reporting were completed by Marty Anderson and Pearl Breckenridge.

References

Alachua County. 2001. LIDAR (Light Detection and Ranging System) Topographic

Contour Maps prepared by 3001, Inc. 

Alachua County. 2006. Six-inch Pixel Color Aerial Ortho Photography flown December

2005 through January 2006.

Alachua County Environmental Protection Department (ACEPD). 2007. Gainesville Creeks – A Status Report on Baseflow Water Quality, Stormwater and Ecosystem Health for the Orange Creek Basin 1998-2003. Prepared for the St. Johns River Water Management District (SJRWMD).
APHA. 1985. Standard Methods for the Examination of Water and Wastewater. 16th Edition. Prepared and Published by the American Public Health Association (APHA), American Water Works Association and the Water Pollution Control Federation.  

Brady, N.C., R.R. Weil. 1996. The Nature and Property of Soils. 11th Edition, Prentice 

Hall, Inc., New Jersey, US.

California Regional Water Quality Control Board San Diego Region (CRWQCB San Diego Region). 2007. Tentative Resolution No. R9-2007-0043 and Technical Support Document including TMDLs for dissolved copper, lead and zinc in Chollas Creek, Tributary to San Diego Bay. May 30, 2007.
City of Vancouver, WA. 2005. Water Resources Protection – Catch Basin Protection 

Program.

Das, B.M. 1986. Soil Mechanics Laboratory Manual, 2nd Ed. Test Method of Particle-
Size Analysis of Soils. ASTM D 422-63. 

Dean, C.M., J.J. Sansalone, F.K. Cartledge and J.H. Pardue. 2005. Influence of Hydrology on Rainfall-Runoff Metal Element Speciation. Journal of Environmental Engineering. ASCE. April 2005.

Durell, GS, JA Seavey and CD Hunt. 1998. Sediment Quality in the St. Johns River Water Management District:  Physical and Chemical Characteristics Revised.  Prepared for the SJRWMD by Battelle (Duxbury). Special Publication SJ98-SP5.

F.A.C. 2005. Chapter 62-777.170 Derivation of Cleanup Target Levels, Soil Cleanup
Target Levels.

Gao, X., D. Gilbert, W. Magley. 2006. Nutrient TMDL for Alachua Sink, WBID 

2720A, TMDL Report. Florida Department of Environmental Protection, Division of Water Resource Management, Bureau of Watershed Management.
Golding, S. 2006. A Survey of Zinc Concentrations in Industrial Stormwater Runoff. Washington State Dept of Ecology.
Greco, Stacie. 2004.  A Biogeochemical Survey of Wetlands in the Southeastern US. University of Florida Masters Thesis.
Hrachovec, R. and G. Minton. 2001. Field testing of a sock-type catch basin insert, 

Planet CPR, Seattle, Washington.
Lehner, P., G.P.A. Clark, D.M. Cameron and A.G. Frank. 1999.  Stormwater Strategies – Community Responses to Runoff Pollution. Natural Resources Defense Council (NRDC). May 1999.
Manahan, S.E. 1984. Environmental Chemistry. 4th Edition. Brooks and Cole Publishing

Co. Monterey, CA. 

Miller, T., Jr.  1993.  Environmental Science. 4th Ed.

Natural Resource Defense Council (NRDC). 1999. Stormwater Strategies – Community Responses to Runoff Pollution. Washington, DC. 
Pitt, R. and M. Lalor. 2000. The Role of Pollution Prevention in Stormwater Management. Presented at: 2000 Conference on Stormwater and Urban Water Systems Modeling (Feb 24-25, Toronto, Ontario), published in Models and Applications to Urban Water Systems, Monograph 9. Edited by W. James. Guelph, Ontario. 20 pp.

Renshaw, Andy. 2007. Technical Support Specialist III, City of Gainesville, Public Works. Personal e-mail, 10/29/2007.

Scott, T.M.  1988.  The lithostratigraphy of the Hawthorn Group (Miocene) of Florida. Florida Geologic Survey. Bulletin No. 59. Tallahassee, Florida. 148 p.

Schueler, T. R., F. J. GaRi, L. Herson, P. Kumble and D. Shepp. 1991. Developing 

Effective BMP Systems for Urban Watersheds. Urban Nonpoint Workshops. New Orleans, Louisiana. January 27-29, 1991.

Smith, S.L., D.D. MacDonald, K.A. Keenleyside, C.G. Ingersoll and J. Field. 1996. A 
preliminary evaluation of sediment quality assessment values for freshwater ecosystems. J Great Lakes Res 22:624–638.
Snoeyink VL and D Jenkins. 1980. Water Chemistry. John Wiley & Sons, New York. 

 463 p.
TDC Environmental, LLC. 2004. Copper Sources in Urban Runoff and Shoreline Activities. November 2004 Information Update Prepared for the Clean Estuary Partnership. San Mateo. CA.

Tieenthaler, L.L., K.C. Schiff, S.M. Bay. 2001. Characteristics of parking lot runoff 

produced by simulated rainfall. City of Long Beach Storm Water Monitoring Report 2000 – 2001.

Tilley, D.T. and M.T. Brown.  1998.  Wetland networks for stormwater management in 
subtropical urban watersheds. Ecol. Eng. 10:131-158. 
USDA. 1985. Soil Survey of Alachua County Florida. Soil Conservation Service.
USDHHS. 1999. Toxicological Profile for Total Petroleum Hydrocarbons (TPH). 

Public Health Service. Agency for Toxic Substances and Disease Registry, Atlanta, GA.
USEPA. 1983. Method for Chemical Analysis of water and wastes. Environmental

Monitoring and Support Laboratory, Cincinnati OH. EPA-600/4-79-030.

Revised March 1983.
Appendix A. Photographs Showing the Location of Inlets and the Installation and Removal of the Filters
[image: image6.jpg]e~





City of Gainesville Public Works Vehicle Inlet

[image: image7.jpg]



City of Gainesville Public Works Yard Inlet: note sediment

[image: image8.jpg]



Florida Pest Control & Chemical Company North Inlet next to NW 2nd Street

[image: image9.jpg]



Florida Pest Control & Chemical Company South Inlet next to NW 2nd Street
[image: image10.jpg]



Installation of inlet filter and trimming excess filter material
[image: image11.jpg]3aree S
Tniorinat® ~o





Removal of stormwater inlet grate
[image: image12.jpg]



Inlet filter in place and attached to tension bars, immediately prior to removal
Springstead Creek south of NW 39th Avenue and west of Main Street





Sweetwater Branch east of Main Street and in the median of NE 10th Avenue





Stormwater inlet (FP North) collecting runoff from the Florida Pest Control & Chemical Company





Drop stormwater inlet at Florida Pest Control & Chemical Company (FP North)





Ultra-DrainGuard Oil and Sediment filter and contents after removal from one of the stormwater inlets





Stormwater inlet with inlet grate removed and Ultra-DrainGuard Oil and Sediment filter in place





Photographs on left show the samples before sieve analysis was conducted; top is contents from the inlet filter at PW Yard and bottom is the contents from the FP South inlet filter.  The photograph on right displays the contents retained by each sieve size for each stormwater inlet filter.











PAGE  
15

[image: image22.jpg]


